## Slide 1
ELECTRICAL SCIENCE-1
(15B11EC111)
Unit-2
DC Circuit Analysis
Lecture-2
( Source Transformation)
Dr. Abhishek Kashyap
Assistant Professor (Senior Grade, JIIT Noida)

## Slide 2: Topics to be Discussed
Source Transformation
Numerical
Practice Problems
References

## Slide 3
Ideal Voltage Sources Connected in Series

## Slide 4
Ideal Current Sources Connected in Parallel

## Slide 5
Ideal Voltage Sources Connected in Parallel
Such Connection is NOT permitted.

## Slide 6
Source Transformation
Source transformation is another tool for simplifying circuits.
Basic to these tools is the concept of equivalence.
To be able to substitute a voltage source in series with a resistor for a current source in parallel with a resistor, or vice versa, as shown in Fig. Either substitution is known as a source transformation.
Transformation of independent sources
A source transformation is the process of replacing a voltage source vs in series with a resistor R by a current source is in parallel with a resistor R, or vice versa.

## Slide 7
Source Transformation – Independent Sources
The two circuits in Fig. are equivalent—provided they have the same voltage-current relation at terminals a-b
Transformation of independent sources
Hence, source transformation requires that

## Slide 8
Source Transformation – Dependent Sources
Source transformation also applies to dependent sources, provided we carefully handle the dependent variable.
Transformation of dependent sources

## Slide 9
Source transformation does not affect the remaining part of the circuit.
When applicable, source transformation is a powerful tool that allows circuit manipulations to ease circuit analysis.
However, we should keep the following points in mind when dealing with source transformation.
  the arrow of the current source is directed toward the positive terminal of the voltage source.
  source transformation is not possible when R = 0, which is the case with an ideal voltage source. However, for a practical, non-ideal voltage source, R ≠ 0 .
  Similarly, an ideal current source with R = ∞ cannot be replaced by a finite voltage source.
Source Transformation

## Slide 10
Practical Current Sources Connected in Series

## Slide 11
Practical Voltage Sources Connected in Parallel

## Slide 12
Problem
Reduce the network shown in figure to its simplest possible form by using source transformation.

## Slide 13
Problem - Solution

## Slide 14
Problem - Solution

## Slide 15
Problem
Use source transformation to find V0 in the circuit of Fig.

## Slide 16
Problem - Solution
We first transform the current and voltage sources to obtain the circuit in Figure shown below

## Slide 17
Problem - Solution
Combining the 4-Ω and 2-Ω resistors in series and transforming the 12-V voltage source gives us Figure shown below.
We now combine the 3-Ω and 6-Ω resistors in parallel to get 2-Ω. We also combine the 2-A and 4-A current sources to get a 2-A source. Thus, by repeatedly applying source transformations, we obtain the circuit shown in Figure.

## Slide 18
Problem - Solution
We use current division in Fig. to get
and

## Slide 19
Find Vx in Fig. using source transformation
Practice Example

## Slide 20
References
R.C. Dorf and James A. Svoboda, “Introduction to Electric Circuits”, 9th ed, John Wiley & Sons, 2013.
D.C. Kulshreshtha, Basic Electrical Engineering, Revised 1st ed, Tata Mc Graw Hill, 2017.
V. K.Mehta, Rohit Mehta, Basic Electrical Engineering, 6th ed, S. Chand Publishing, 2012.